## Slide 1: Establishing the conditions of building permits
By: Xavier Chevannes

## Slide 2: What are building permit conditions?
These are guidelines that govern the building construction process to ensure conformity with best practices.
These conditions form part of the building permit and go in tandem with the approved drawings.

## Slide 3: GENERAL BUILDING CONDITIONS

## Slide 4: Title
A SITE DIARY
ADDITIONAL INSPECTIONS PAYMENTS
NO FURTHER DEVELOPMENT BEYOND WHAT IS APPROVED
TEMPORARY STRUCTURE MUST BE APPLIED FOR
NOTIFICATIONS PRIOR TO WORKS
SITE MUST BE HOARDED
PPE USAGE
TRAFFIC MANAGEMENT
GUARD RAILS AND LADDERS

## Slide 5: SPECIAL BUILDING CONDITIONS

## Slide 6
EARTHWORKS
Guidelines for terracing with and without retaining structure
Role of Building Inspector
TOWER CRANES
Special application process and fees attached
Decommissioning plan must be stated as well
CONCRETE & REINFORCEMENT
Guidelines for concrete mix design and curing times
Rebar specifications

## Slide 7
RAIN-WATER HARVESTING
Governs tank sizing and surface types from which water can be harvested
Outlines standards for potable water and non-potable water storage
ROAD & SIDEWALK MAINTENANCE
Outlines how damage to roads due to construction is treated
Outlines how to treat with possible usage of sidewalk for storage
CONSTRUCTION MATERIALS
Guidelines for the transportation and storage of said material

## Slide 8: Title:
FIRE SAFETY
Explains that fire security, escape, etc should be to the satisfaction of the Jamaica Fire Brigade
SURFACE/STORM WATER DRAINAGE
Explains that storm water runoff should be intercepted and disposed of before reaching parochial roads
Guidelines for collecting and channeling of roof water
Guidelines for water from impervious surfaced except roof

## Slide 9: THANK YOU